## Slide 1: Swiss Smart Factory powered by Microsoft Cloud
Urs Rüegg, Solution Architect

## Slide 2: Swiss Smart Factory powered by Microsoft Cloud
Dynamics 365
Azure
Azure
IoT Edge
Azure
Stream Analytics
Azure
Service Bus
Logic App
Azure
to Dynamics
Connected
Field Service
Azure SQL
Reporting
Azure
IoT Hub
3D Printer
Farm
Laser as a Service
Fault
Alert
Remote
Assist
Guide
Daily Check
Inspection
Power Apps
Daily Check
Tour Guide
Welcome Desk
Microsoft Dataverse
Functional Location
Customer Assets
Device. Alerts
Case, Work Orders
Inspection
Power BI
Connected
Factory
Microsoft
Teams
Collaboration
Azure
Service Bus
Logic App
Dynamics
to Azure
Registration
and Commands
Applications
Devices
Azure Time
Series Insights
Connected
Field Service
Monitoring
Inspection

## Slide 3: Swiss Smart Factory powered by Azure Digital Twins
Azure Digital Twins
Azure
Azure
IoT Edge
Azure
Functions
Process telemetry
ProcessHubToDTEvents
Event Grid
ProcessDTRoutedData
Azure
IoT Hub
3D Printer
Farm
Laser as a Service
Lifecycle events
Telemetry messages
Power Apps
Tour Guide
Power BI
Connected
Factory
Azure
Functions
Sets data on model
ProcessDTRoutedData
Applications
Devices
Building
SSF
Level Factory
3D Printer Farm
Laser as a Service
Temparature
…
Temparature
…
Temparature
Humidity
hasCapability
hasCapability

## Slide 4: Swiss Smart Factory Azure Digital Twins modeled as a topology graph
Space
Building
Room
Asset
Equipment
LogicalDevice
Capability
Sensor
Actuator
Parameter
Space Interface
Asset Interface
Capability Interface
LogicalDevice Interface
locatedIn
hosts
hasCapability
RealEstateCore ontology
extends
serves
serves, feeds
isPartOf
extends
isPartOf
isPartOf
serves, feeds
serves
serves
extends
Building
SSF
Level Factory
3D Printer Farm
Laser as a Service
Temparature
…
Temparature
…
Temparature
Humidity
hasCapability
hasCapability
Using RealEstateCore ontology to Swiss Smart Factory graph